See the attached zip file containing the drivers.

Here’s the steps to install the drivers:

- Unplug the instrument from the computer

- Install the drivers

- Re-boot the computer

- Plug the instrument in again.  It should automatically find the drivers now.

- The instrument will create a new COM port on the computer.  When you drop down the list of COM ports in APICom, you should see a new one that wasn’t there before.  You can also see the new COM port by going to Control Panel…System…Hardware…Device Manager and looking at the COM ports available.

- On the analyzer, the USB converter should be plugged into COM2, use the COM2 menus on the analyzer to configure the baud rate for the port.

Use the latest version of APICom 5.